## Slide 1
Camera
Excitation Filter Wheel
Emission
Filter Wheel
Automated Interchangeable
Dichroic Mirror
Splitter
Microscopy Body
Lens
Xenon Arc
Lamp
Sutter Controller
Computer
MetaFluor
Image Acquisition
Image Analysis
Linear Polarized Fiber Laser
Beam Steerer
Piezoelectric Mirror
Laser Beam
Fluorescence
Neutral Density

## Slide 2
 | Excitation Filter (nm) | Dichroic Mirror (long pass; nm) | Emission Filter (nm)
CFP | 420/20 | 450 | 475/40
YFP (FRET) |  |  | 535/25
mOrange2 | 548/20 | 560 | 572/20
mCherry (FRET) |  |  | 630/20
mCherry | 580/20 | 600 | 630/20
Table 1. The settings of filters for the Multicolor FRET imaging.
Camera
GFP/RFP
Nikon
Eye

## Slide 10
A |  |  |  |  |  |  |  |  | 
B |  |  |  |  |  |  |  |  | 
A/B |  |  |  |  |  |  |  |  | 
CFP
FRET
Ratio Pseudo Color
Color
Brightness
IMD Display
Color
Brightness

## Slide 11
IMD Display
Color
Brightness
1.6
0.95
Ratio<0.95
Ratio>1.6
1.6
0.95
1.35
0.95